Effective navigation through the permitting process involves having qualified professionals inspect your work. Inspections confirm compliance with state building codes, assuring that safety standards are met whether you do the project yourself or hire a contractor. For specialized projects, inspections by trained professionals add significant value, ensuring adherence to specific requirements. Moreover, they mitigate homeowner frustrations associated with home improvements and safeguard your family by guaranteeing that work is conducted safely and accurately, potentially averting costly mistakes and redundant work.

The inspection procedure is straightforward and should not cause concern. Inspectors focus solely on the permitted project and are not tasked with identifying unrelated code violations within your home. Exceptions are made for urgent safety issues, like exposed wires. Inspections are always scheduled—no unannounced visits.

ANY WORK DONE WITHIN THE CITY OF BUTLER WILL BE DONE BY THE 2024 INTERNATIONAL BUILDING, RESIDENTIAL, PLUMBING, MECHANICAL, FUEL GAS, PROPERTY MAINTENANCE, EXISTING BUILDING, ELECTRICAL, AND FIRE CODES.

Process Overview: Building Permit and Inspection Procedures

- Contractor License Verification: Ensure your contractor holds a current license issued by the City of Butler. For verification, contact City Hall at 660-679-4182.

- Permit Acquisition: Obtain a permit by completing the appropriate application and submitting the required fee. For assistance in determining the necessary permit type, contact City Hall at 22 West Ohio Street, or call 660-679-4182 to consult with the Administrative Assistant. You can also contact the building inspector at 660-424-0910 or the Fire Department office at 660-679-6323.

- Inspection Procedures: Depending upon the nature of your project, adhere to the following inspection guidelines:

Roofing Projects:

- For laying shingles over an existing roof, contact the inspector to verify that there is only one layer before commencing work.

- For complete roof replacement, contact the inspector to check for the ice barrier on the bare roof and ensure proper waterproofing (felt) before shingle installation. Final inspection is required to verify that there are no more than two layers.

New Construction & Remodeling Projects:

- Notify the inspector upon completion of wall rough-ins and the relocation or replacement of load-bearing walls.

- Call the inspector before covering wiring or plumbing.

- Inspect plumbing and floor prior to concrete pouring.

- Call the inspector for any new mechanical installations (e.g., heating, air conditioning) post-replacement.

- Schedule a final inspection upon project completion.